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Date:	     June 26, 2026

To:          All Bidders for IFB - FMD Boiler Tune-Up and Coen Burners Maintenance 

From:  	  Department of General Services
	  Office of Business and Acquisition Services (OBAS)

Subject:  Addendum #2 - IFB FMD Boiler Tune-Up and Coen Burners Maintenance

This addendum is to make changes to the solicitation referenced above. 

Change #1 – IFB Attachment 8-Cost Sheet, Exhibit B, Attachment 1, Table 2, Foreseeable Repair Services has been changed as follows:

1. FORESEEABLE REPAIR SERVICES1
  
	Description 
	A
	B
	C
	D
	E
	F
	G

	
	Number of Labor Hours
	Normal Business Hourly Rate2
	Calculated Labor Amount
(A x B)
	Part Replacement Amount3
	Total Combined Replacement Amount
(C+D)
	Est
Qty

	Calculated Total
Amount
(E x F)

	Remove and replace broken stud, R STAMP
	
	$
	$
	$
	$
	20
	$

	Remove and replace Main Gas Regulating Valve in #1 or #4 (small boiler)
	
	
	$
	$
	$
	2
	$

	Remove and replace Main Gas Regulating Valve in #2 or #3 (large Boiler)
	
	
	$
	$
	$
	2
	$

	Remove and replace Pilot Gas Regulator
	
	
	$
	$
	$
	4
	$

	Remove and replace water level control probe
	
	
	$
	$
	$
	4
	$

	Remove and replace Burner in #1 or #4 (small boiler)
	
	
	$
	$
	$
	1
	$

	Remove and replace burner in #2 or #3 (large boiler)
	
	
	$
	$
	$
	1
	$

	Remove and replace Boiler Controls (CPU Mother Board)
	
	
	$
	$
	$
	4
	$

	Remove and Replace Yokogawa processer board
	
	
	$
	$
	$
	4
	$

	Remove and replace Fire eye sensor & control replacement in #1 or #4 (Small Boiler)
	
	
	$
	$
	$
	2
	$

	Remove and replace Fire eye sensor & control replacement
In #2 or #3 (Large Boiler)
	
	
	$
	$
	$
	2
	$

	Remove and replace/recondition Non-return valve
	
	
	$
	$
	$
	4
	$

	Remove and replace main steam header vent valve (8”)
	
	
	$
	$
	$
	1
	$

	Remove and replace main steam isolation valve (8” at vent)
	
	
	$
	$
	$
	1
	$

	Remove and replace boiler vent valves (8 – 1” ea. at the steam drum) +DIR Inspection
	
	
	$
	$
	$
	8
	$

	Remove and replace Economizer safety relief valve
	
	
	$
	$
	$
	4
	$

	Remove and replace Fuel Gas Supply Maxon valve
#1 & or #4 (small boiler) 
	
	
	$
	$
	$
	4
	$

	Remove and replace Fuel Oil Supply Maxon valve
#1 & or #4 (small boiler)
	
	
	$
	$
	$
	4
	$

	Remove and replace Fuel Gas Supply Maxon valve
#2 & or #3 (large boiler)
	
	
	$
	$
	$
	4
	$

	Remove and replace Fuel Oil Supply Maxon valve
#2 & or #3 (large boiler)
	
	
	$
	$
	$
	4
	$

	FORESEEABLE REPAIR SERVICES TOTAL
(Sum of Column G)
	$











Administration Division, Office of Business and Acquisition Services | State of California | Government Operations Agency
Contracts Services Section | 707 Third Street, MS 508 |West Sacramento, CA  95605 | t 916-376-1768


	
	
	



image1.png
DGES oo Covernor Gavin Newsom
GENERAL SERVICES




