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December 13, 2019


To:	All Interested Vendors {Bidders} 


Re:	Bid Solicitation # 19DPP00342
T2580 - Facilities Management Services Asbury Park and Freehold 

Original Quote Submission Due Date: December 17, 2019 (2:00 p.m. Eastern Time) 

Revised Quote Submission Due Date: January 3, 2020 (2:00 p.m. Eastern Time)

Bid Amendment #4


The following constitutes Bid Amendment #4 to the above referenced Bid Solicitation:
  
· This Bid Amendment includes answers to questions; 

· [bookmark: _GoBack]The Quote Submission Due Date has been extended to Friday, January 3, 2020 at 2:00 p.m. Eastern Time;

· A Revised State-Supplied Price Sheet has been included as part of this Bid Amendment. All Vendors {Bidders} MUST submit the Revised State-Supplied Price Sheet as part of its Quote; 

· Please note that the Subcontractor Utilization Plan Form has been updated and reattached;

· Please note that for all additions, deletions, clarifications and modifications to the Bid Solicitation, please refer to the Revised Bid Solicitation entitled “T2580 REVISED Bid Solicitation”;

· Please view the following attachments:

· Attachment 2a – Asbury Park Location Floor Plans; and
· Attachment 2b – Freehold Location Floor Plans.

· Please note that the Division’s website has been updated. If you are unable to access a web address link directly from the Bid Solicitation, please refer to the following web address links:

· NJSTART Vendor Support Page/QRGs: https://www.state.nj.us/treasury/purchase/vendor.shtml
· Division of Purchase and Property Main Page: https://www.state.nj.us/treasury/purchase/
· Division of Purchase and Property Forms Page: https://www.state.nj.us/treasury/purchase/forms.shtml
· New Jersey Business Ethics Guide: https://www.state.nj.us/treasury/purchase/ethics.shtml.

It is the sole responsibility of the Vendor {Bidder} to be knowledgeable of all of the additions, deletions, clarifications, and modifications to the Bid Solicitation and/or the New Jersey Standard Terms and Conditions relative to this Bid Solicitation as set forth in all Bid Amendments. 

All other instructions, terms, and conditions of the Bid Solicitation shall remain the same.

















































Bid Solicitation #19DPP00342
Bid Solicitation T2580 Facilities Management Services Asbury Park and Freehold

Answers to Questions

Where applicable, each question references the appropriate Bid Solicitation section. 

	#
	Bid Solicitation
Section Reference
	Question (Bolded) and Answer
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1.4.5 
Announcement of Quote Information
&
6.8
Negotiation and Best and Final Offer (BAFO)
	RFP Section 6.8, Will the proposals be opened and the prices publicly read?

As per Section 1.4.5, Announcement of Quote Information:  

“On the date and time Quotes are due under the Bid Solicitation, all information concerning the Quotes submitted may be publicly announced and shall be available for inspection and copying except as noted below:

A. Information appropriately designated as proprietary and/or confidential shall not be available for inspection and copying; and
B. Where negotiation is contemplated, only the names and addresses of the Vendors {Bidders} submitting Quotes will be announced, and the contents of the Quotes shall not be available for inspection and copying until the Notice of Intent to Award is issued by the Director.”

As negotiations are contemplated by the Bid Solicitation, pricing will not be publically read at Quote opening.
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3.1.1
Inspections, Reports, Records,
3.19.1 
HVAC Operations,
3.22.2 
Elevator Inspections and Tests,
3.23.3 
Fire Suppression Systems,
3.23.3 
Fire Alarm Systems,
3.23.4 
Smoke Evacuation Systems,
3.23.6 
Emergency Generators, 
&
3.23.7 
Lightning Protection System


	RFP Section 3.1.1, would the State please list all required inspections and tests?

Please review the Bid Solicitation for all inspections and codes. Codes referenced in the Bid Solicitation can be found in:

A. Section 3.19.1, HVAC Operations;
B. Section 3.21, Electrical Systems;
C. Section 3.22.2, Elevator Inspections and Tests;
D. Section 3.23.2, Fire Suppression Systems;
E. Section 3.23.3, Fire Alarm Systems;
F. Section 3.23.4, Smoke Evacuation Systems;
G. Section 3.23.6, Emergency Generators; and
H. Section 3.23.7, Lightning Protection System.

Please be advised that this is not an exhaustive list of codes and inspections. It is the responsibility of the Vendor {Contractor} to be aware of all federal, State, and locally required tests and inspections.
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3.5
Operating Hours
	RFP Section 3.5 indicates that it may be necessary to provide services after normal hours. Will the Contractor be reimbursed for after hours time at the hourly rates?

Services performed after normal hours are considered Special Projects. The Vendor’s {Contractor’s} supervisor will be paid the awarded Price Line under Price Line 10 or 39, whichever is applicable. If additional personnel is required to complete a task, the Vendor {Contractor} will be paid the applicable awarded prevailing wage rate. Please refer to the Department of Labor’s webpage for prevailing wage information.
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3.5
Operating Hours
	RFP Section 3.5, if Contractor personnel needs to respond to an emergency after hours, or accompany a subcontractor, will the Contractor be paid for the time at the hourly rate? Will the reimbursement be at the Overtime rate?

Please see the answer for Question #3.
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3.6
Vendor {Contractor} Personnel
& 
3.19.3 
Water Treatment
	RFP Section 3.6 (Contractor Personnel): 
(a) Is a person with a Boilers License required to staff the Freehold Office building? 
(b) If so, is a licensed Boiler Operator be required to be on site from 7 am to 7 pm, Monday to Friday?

(a) Yes, Boiler Operators require all applicable licenses. Please see Section 3.19.3, Water Treatment, of the REVISED Bid Solicitation; and 
(b) No. The Boiler Operator will report and perform services on an as-needed basis determined by the SCM and in accordance with Section 3.19.3.
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3.9
Special Projects
&
3.9.2 
Labor/Material Costs


	RFP Section 3.9 states that “the vendor (contractor) shall develop and/or obtain estimates for Special Projects, and shall furnish management/supervision for employees and Subcontractors, and for procurement of materials”. Will the Contractor be allowed to mark up the cost for the work performed by subcontractors?

No, the Vendor {Contractor} is not to markup the cost performed by the subcontractor. As per Section 3.9.2, Labor/Material Costs, “The Vendor {Contractor} shall not add any fee or up-charge to Special project costs.” The State will pay the Vendor {Contractor} the applicable awarded pricing. 

Please see the answer to Question #3.
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3.10
Tools, Equipment, Materials and Supplies

	RFP 3.10 states that the Contractor will be responsible for procuring, at their expense, any tools, equipment, materials and supplies (furnishings) necessary for the proper and complete management, operation and maintenance of these facilities. However, the price sheets contain line for a percentage mark up on materials/supplies (lines 2, 14 and 30). 
(a) Will the Contractor be reimbursed for materials and supplies such as: ceiling tiles, flushometers, door closers, locks, filters, belts, plumbing supplies, etc.
(b) If so, will the Contractor be reimbursed at cost plus the mark-up?

(a) The Price Lines for the mark-up percentage on materials and supplies is for reimbursables only. Reimbursables are all repair parts and supplies over $250.00, unless otherwise stated, as per Section 3.1, Monthly Management Fee and Reimbursables. The Vendor {Contractor} will only be reimbursed for ceiling tiles, flushometers, door closers, locks, filters, belts, plumbing supplies, etc. if they are over $250.00. If the cumulative cost of a repair exceeds $250, the Vendor {Contractor} will be reimbursed. The Vendor {Contractor} will also be reimbursed for repair parts exceeding $250.00. Any repair parts exceeding $250 require the written approval of the SCM.
(b) The State will reimburse the Vendor {Contractor} the mark-up percentage (%) over supplier invoice for reimbursables as per Section 3.16, Monthly Management Fee and Reimbursables, and Price Lines 2, 15, and 31 of the REVISED State-Supplied Price Sheet.
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3.19.5
Controls Maintenance
	RFP 3.19 (Controls Maintenance), is the Contractor responsible for the cost of software upgrades to the various controls systems, or will that be reimbursed?

No, the Vendor {Contractor} is not responsible for HVAC upgrades or providing software upgrades to the controls systems of either location. As per the language in Section 3.19.5, Controls Maintenance, “The Vendor {Contractor} shall operate and maintain HVAC controls and computer-based energy management systems in accordance with their original designs and all upgrades and with manufacturer’s specifications.

The Vendor {Contractor} shall maintain detailed records of any control problems and shall coordinate service and repairs to the facility automation and control system.”
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	3.1 
General Requirements,
3.19.1
HVAC Operations,
3.19.2
HVAC Maintenance,
3.23.3
Fire Alarm Systems,
3.22
Elevators,
3.22.1 
Elevator Maintenance
3.22.2 
&
Elevator Inspections and Tests

	During our site visit to the Asbury Park State Office Building, we observed a Siemens Energy Management System. 
(a) Is the Siemens Energy Management System under this contract or a separate contract with the state? 
(b) If included, what is the current level of service provided by Siemens? Is it full service of preventative maintenance only? 
(c) Can you please provide the same information related for the Fire Alarm System, Security System, Generators, Roll-up Doors, and Elevators.

(a) Yes, the Siemen’s Energy Management System is part of the HVAC systems covered in Sections 3.19.1, HVAC Operations, and 3.19.2, HVAC Maintenance, of the REVISED Bid Solicitation and, thus, part of this Blanket P.O.; 
(b) Siemen’s provides full service of its energy management system. The Vendor {Contractor} is not responsible for the Siemen’s system. However, if the energy system is in need of repair, the Vendor {Contractor} must notify Siemen’s personnel to have it repaired, after it has obtained approval from the SCM.
(c) Please refer to Section 3.23.3, Fire Alarm Systems, and Section 3.23.6, Emergency Generators, for information regarding fire alarm systems and generators. 

The Vendor {Contractor} is responsible for furnishing all management, administration, labor, materials, supplies, tolls, and technical support for the effective use of Security Central Station Monitoring, as per Section 3.1, General Requirements.

The Vendor {Contractor} is responsible for routine maintenance, including the maintenance the roll-up doors, such as lubricating, tightening bulbs, and adjustments, full service, and preventative maintenance. 

Please refer to Section 3.22, Elevators, including subsections, regarding information on elevators.
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3.21.2
Lighting
&
Section 3.32.9
Re-Lamping

	RFP Section 3.21.2, will the Contractor be reimbursed for the cost of light bulbs and ballasts in the Asbury Park Office Building and the Freehold Office Building? (Note that in RFP Section 3.31.9 regarding Re-lamping of the Asbury Garage, the RFP states that The State will reimburse the contractor for materials only).

Yes, the State will reimburse the Vendor {Contractor} for materials required for re-lamping in the Asbury Park Parking Garage and Freehold location, including ballasts and bulbs, so long as it exceeds $250.00 and has obtained the written approval of the SCM for both lighting and re-lamping. However, labor and lift trucks for re-lamping are to be included in the monthly management fee and are not reimbursable as per Section 3.32.9, Re-Lamping. 
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3.23.6
Emergency Generators
	RFP Section 3.23.6, will the Contractor be reimbursed for the cost of emergency generator batteries and fuel?

The Vendor {Contractor} will be reimbursed for the cost of the emergency generator’s batteries and fuel if either exceed $250.00. All repair parts and supplies required for this task that exceed $250.00 require the written approval of the SCM. Everything under $250.00 will be supplied and covered by the Vendor {Contractor} and included in the monthly management fee.
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3.23.8
Security Personnel
&
3.24.3
Key and Locks
	RFP Section 3.23.8, would the State please confirm that there will be security personnel on site at both facilities? Will there be security personnel on site 24/7? If not, will Contractor personnel be required to handle access issues (during and after hours)?

Yes, there will be security personnel on site at both facilities, but security personnel will not be on site 24/7. Security personnel will be on site at both facilities as follows:

1. Freehold – Monday to Friday 8 a.m. to 5 p.m.; and
2. Asbury Park – Monday to Friday 7a.m. to 7p.m.

Please see Section 3.23.8, Security Personnel, of the REVISED Bid Solicitation.

As per Section 3.24.3, Keys and Locks, “The State’s security contractor and its personnel will administer a master key system to cover all locks including padlocks used at the facilities.” The Vendor {Contractor} shall use this master key. Beyond that, the Vendor {Contractor}’s personnel is not responsible for handling access issues at either site.
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3.25,
Pest Control,
3.29,
Grounds Maintenance,
3.29.1,
Lawn Maintenance
&
3.29.1.1
Mulch
	RFP Section 3.29.1 (Lawn Maintenance), would the State please provide a specification for lawn maintenance, including frequency of cuts, height of grass, mulch specifications, pest management, etc.?

Please refer to Sections 3.29, Grounds Maintenance, and 3.29.1, Lawn Maintenance, for information on maintenance of the lawn. The Vendor {Contractor} is not responsible for lawn mowing. 

Mulch shall be used under shrubs around the Freehold location. The depth of mulch used shall be sufficient enough to help suppress the growth of weeds. The Vendor {Contractor} must obtain approval of the mulch used from the SCM. Please refer to Section 3.29.1.1, Mulch, of the REVISED Bid Solicitation. 

The specifications and requirements for pest maintenance can be found in Section 3.25, Pest Control. 
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3.26.2
Cleaning Supplies
	RFP Section 3.26.2. Is the Contractor responsible for the cost of all cleaning supplies, paper products, cleaning materials and equipment? Or are these reimbursable under Price Lines 2 and 30?

Yes, the Vendor {Contractor} shall be responsible for the cost of all cleaning supplies, paper products, cleaning materials, and equipment. The cost is to be included in the monthly management fee and is not reimbursable. 

Please see the REVISED State-Supplied Price Sheet.
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3.26.4
Periodic Task Work
	RFP Section 3.26.4 requires the Contractor to do task work, such as carpet shampooing, on a per square feet cost basis. However, the cost do perform services such as carpet shampooing for a very small area (say, one office), is different than the cost to shampoo an entire building or floor. Would the State consider requesting prices on an hourly basis rather than a per SF basis?

No, the State will not consider requesting pricing on an hourly basis. The Vendor {Bidder} must provide pricing per square foot. 
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3.26.4
Periodic Task Work
	RFP Section 3.26.4 (High Cleaning), how is the square footage measured for high cleaning? Is it the square footage of the total area to be cleaned, or just the square footage of the space above 70” to be cleaned?

The square footage for high cleaning of surfaces or objects approximately 70” or more from the floor is measured by square footage of the total area to be cleaned.
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3.27.2
Use of Salt
&
3.27.3
Reimbursement 
	RFP Section 3.27.2, is the Contractor is responsible for labor, material and equipment costs for snow removal for snows under 2 inches, or is the material reimbursable under lines 2,14, and 30?

As per Section 3.27.3, Reimbursement, of the REVISED Bid Solicitation, “The Vendor {Contractor} will be reimbursed for snow removal after two (2) inches of accumulation at the hourly rates award. The Vendor {Contractor} will also be reimbursed for materials used after two (2) inches of accumulation.” These materials are reimbursable under Price Lines 2, 15, and 31 of the REVISED State-Supplied Price Sheet.

The Vendor {Contractor} will not be reimbursed for snow removal or materials used before two (2) inches of snow accumulation. These instances are covered under the monthly management fee and are not reimbursable.
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3.29
Grounds Maintenance
	RFP Section 3.29 (Grounds Maintenance), 
(a) is the Contractor responsible for leaf removal? 
(b) If so, is the cost reimbursable?

(a) Yes, the Vendor {Contractor} is responsible for leaf removal. Please refer to Section 3.29, Grounds Maintenance. 
(b) Grounds/lawn maintenance services, found on Price Line 40 of the REVISED State-Supplied Price Sheet, is not a reimbursable task. 
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3.29
Grounds Maintenance
	RFP Section 3.29 (Grounds Maintenance), is the Contractor responsible for fertilization? If so, please provide specifications for fertilization. Is the cost reimbursable?

No, the Vendor {Contractor} is not responsible for fertilization. There are no specifications nor reimbursement as this is not a service covered under this Blanket P.O.
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3.29
Grounds Maintenance
	RFP Section 3.29 (Grounds Maintenance), 
(a) will the landscaping contractor or subcontractor be required to pay Prevailing Wage? 
(b) If so, how will the State ensure that this requirement is met, given that most landscaping subcontractors do not pay Prevailing Wage?

(a) The Division does not interpret whether or not prevailing wage is applicable to landscaping. However, the Vendor {Contractor} shall refer to the Department Labor’s webpage concerning information regarding the Prevailing Wage Act. Information regarding the NJ State Prevailing Wage Act and Regulations can be found at the following web address: 

https://www.nj.gov/labor/wagehour/lawregs/prevailing_wage_law.html

Should the performance of services related to this Blanket P.O. fall under the Prevailing Wage Act during the Blanket P.O. term, it is the responsibility of the Vendor {Contractor} to abide by the provisions of N.J.S.A. 10:5-31 through 10:5-38, including those provisions indicated for Goods, Professional Service and General Service Contracts (Exhibit A, attached to the Bid Solicitation) and Constructions Contracts (Exhibit B and Executive Order 151, August 28, 2009, attached to the Bid Solicitation) as appropriate. Refer to State Standard Terms and Conditions Section 2.3, Prevailing Wage Act, for more information. 

(b) The Vendor {Contractor} will be paid the awarded hourly rate for Grounds Maintenance under Price Line 40. It is the Vendor’s {Contractor’s} responsibility to be compliant with prevailing wage, when applicable.
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3.29.1
Lawn Maintenance
	RFP Section 3.29.1 (Lawn Maintenance), would the State please provide a site plan for Freehold showing what areas of grass need to be mowed and the amount of acreage needing to be mowed?

Lawn mowing is not a service requested under this Blanket P.O. 

Please see revised language in Section 3.29.1, Lawn Maintenance, of the REVISED Bid Solicitation. Only lawn trimming, such as weed whacking, is required. 

The State is unable to provide a site plan related to lawn maintenance. 
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3.25,
Pest Control,
3.29,
Grounds Maintenance,
3.29.1,
Lawn Maintenance
&
3.29.1.1
Mulch
	RFP Section 3.29.1 (Lawn Maintenance), would the State please provide a specification for lawn maintenance, including frequency of cuts, height of grass, mulch specifications, pest management, etc.?

Please refer to Sections 3.29, Grounds Maintenance, and 3.29.1, Lawn Maintenance, for information on maintenance of the lawn. The Vendor {Contractor} is not responsible for lawn mowing. 

Mulch shall be used under shrubs around the Freehold location. The depth of mulch used shall be sufficient enough to help suppress the growth of weeds. The Vendor {Contractor} must obtain approval of the mulch used from the SCM. Please refer to Section 3.29.1.1, Mulch, of the REVISED Bid Solicitation. 

The specifications and requirements for pest maintenance can be found in Section 3.25, Pest Control. 
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3.28
Trash and Recycling Removal
	For this contract, is trash service included?

Yes, the Vendor {Contractor} is required to provide trash service. Please refer to Section 3.28, Trash and Recycling Removal, of the REVISED Bid Solicitation. 
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3.31.1
Parking Lot Requirements
	RFP Section 3.30.1, will the Contractor be reimbursed for the cost of the parking garage and parking lot patching of cracks and holes if the cost exceeds $250?

Yes, the Vendor {Contractor} will be reimbursed for the cost of the patching of parking garage and parking lot cracks and holes if the cost exceeds $250 and if the Vendor {Contractor} received written approval of the SCM.

Please see Section 3.31.1, Parking Lot Requirements, of the REVISED Bid Solicitation. 
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3.30
Re-Striping, 
3.31.1,
Parking Lot Requirements
&
3.32.10
Paint Striping 
	RFP Section 3.30.1, Repainting Traffic and Pedestrian lines, 
(a) will the Contractor be reimbursed per Price Line 15 for restriping of the Asbury Garage, the Asbury Parking lot, and the Freehold parking lot? 
(b) Is the Task in Price Line 14 defined as Repainting Traffic and Pedestrian lines for the Asbury garage, the Asbury parking lot, and the Freehold parking lot?

(a) The Vendor {Contractor} will be responsible for re-striping the entire or portions of each location determined by and upon request of the SCM. For each re-striping service requested by the SCM, unless otherwise stated, all repair parts and supplies under the Blanket P.O. are reimbursable if they exceed $250 and have obtained approval by the SCM. As such, the Vendor {Contractor} will be reimbursed for repair parts and supplies used in the re-striping of the Asbury Park Parking Garage, Asbury Park Office Building Parking Lot, or Freehold Office Building Parking Lot, if the cumulative cost of re-striping exceeds $250. However, all repair parts and supplies under $250 are included in the monthly management fee and are not reimbursable. All repair parts and supplies exceeding $250 require the written approval of the SCM. 

(b) In the REVISED State-Supplied Price Sheet, Price Line 16 for repainting traffic and pedestrian lines applies only to the Asbury Park Parking Garage. For the repainting of traffic and pedestrian lines in the Asbury Park Office Building Parking Lot, see Price Line 3. For the repainting of traffic and pedestrian lines in Freehold Office Building Parking Lot, see Price Line 32. 

The re-striping of each location shall be at an hourly rate.

Please refer to the REVISED State-Supplied Price Sheet and Section 3.30, Re-Striping, for the Freehold Office Building Parking Lot, Section 3.31.1, Parking Lot Requirements, for the Asbury Park Parking Lot, and Section 3.32.10, Paint Striping, for the Asbury Park Parking Garage, of the REVISED Bid Solicitation. The Vendor {Contractor} shall be responsible for repainting traffic and pedestrian lines for all locations. 
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3.32.8
Paved Surfaces
	During our site visit to the Asbury Park Parking Garage, we saw damage to the concrete in numerous places. Is repairing this damage part of this contract?

The Vendor {Contractor} is not responsible to repair the damages that were observed during the Asbury Park Parking Garage site visit. The damages in question exceed $250 to repair.

The Vendor {Contractor} is required to patch cracks and damage to the concrete that are estimated to cost under $250 to repair. The Vendor {Contractor} is not responsible for repairing cracks and damages that cost over $250 to repair. However, the Vendor {Contractor} must notify the SCM of all cracks and damages worth over $250.

The patching of cracks and damage to concrete is covered under the monthly management fee if under $250 to repair. Please refer to Section 3.32.8, Paved Surfaces, of the REVISED Bid Solicitation. 
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3.32.8
Paved Surfaces
	During our site visit to the Asbury Park Parking Garage, we saw damage to the concrete in numerous places. Is repairing this damage part of this contract?

Yes, the Vendor {Contractor} is required to patch cracks and damage to the concrete. Patching of cracks and damage to concrete are covered under the monthly management fee, and the Vendor {Contractor} will be paid the applicable awarded line. Please refer to Section 3.32.8, Paved Surfaces, of the REVISED Bid Solicitation.
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3.32.9
Re-Lamping
	RFP Section 3.31.9 (Garage re-lamping), the RFP states that The State will reimburse the contractor for materials only. Please confirm that the State will reimburse the Contractor for the cost of all bulbs and ballasts, but not the cost for the 40 foot bucket truck.

No, the cost of the 40-foot lift bucket truck is not reimbursable. Please see Section 3.29.9, Re-Lamping, of the REVISED Bid Solicitation, which states that, “All labor and lift truck costs to complete re-lamping and replacement of ballasts must be included in the monthly management fee.”

The State will reimburse the Vendor {Contractor} for all materials required for re-lamping, including bulbs and ballasts, so long as it exceeds $250.00 and has obtained written approval of the SCM. If it is under $250.00, it is part of the monthly management fee and not reimbursable. 
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3.33
Payment
	Must the Contractor pay Prevailing Wages for services performed at these sites? (There are a few references to Prevailing Wage but it does not seem to be explicitly stated). If so, must all work be paid at Prevailing Wage, including trades work subject to NJ Prevailing Wage law, and service work (maintenance workers, janitors, landscapers, etc.) subject to Federal Prevailing Wages under the NJ Building Service Contracts Act?

The State will pay the Vendor {Contractor} for the services it provides in accordance with the pricing the Vendor {Contractor} provided with its Quote. It is the responsibility of the Vendor {Contractor} to ensure prevailing wage compliance. Please view the Department of Labor’s webpage concerning prevailing wage rates and information.
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4.4.1.6 
Small Business Subcontracting Set-Aside Blanket P.O.
	Subcontractor Utilization Plan Instructions and Information: This contract is a SBE set aside for sub-contracting only. The procedures section of the form states that the vendor (Bidder) shall make a good faith effort to meet the set-aside subcontracting targets of awarding a total of twenty-five percent (25%) of the value of the contract to New Jersey-based, Division of Revenue Small Business Enterprise Unit registered small businesses. Are the Contractors required to make a good faith effort to awarding 25% of the total value of the entire project, or 25% of the value of sub-contracted services?

Neither. If the Vendor {Contractor} intends to use subcontractors, it is responsible for meeting the below requirements, as outlined in Section 4.4.1.6, Small-Business Subcontracting Set-Aside Blanket P.O. of the REVISED Bid Solicitation:

A. Attempt to locate eligible small businesses in Categories I, II, and/or III as appropriate to the Bid Solicitation;
B. Request a listing of New Jersey Small Business Enterprises and/or Disabled Veterans’ Business from the New Jersey Division of Revenue and Enterprise Services, Small Business Registration and M/WBE Certification Services Unit;
C. Record efforts to locate eligible businesses, including the names of businesses contacted and the means and results of such contacts;
D. Provide all potential Subcontractors with detailed information regarding the specifications;
E. Attempt, whenever possible, to negotiate prices with potential Subcontractors submitting higher than acceptable price Quotes;
F. Obtain, in writing, the consent of any proposed Subcontractor to use its name in response to the Bid Solicitation; and
G. Maintain adequate records documenting efforts to achieve the set-aside subcontracting goals.

Only Vendors {Bidders} intending to use a subcontractor shall submit a Subcontractor Utilization Plan form. The small business subcontracting goal requirements only apply if the Vendor {Bidder} intends to utilize subcontractors.

As specified in Section 4.4.1.6, "If the Vendor {Bidder} chooses to use Subcontractors and fails to meet the small business subcontracting targets set forth above, the Vendor {Bidder} must submit documentation demonstrating its good faith effort to meet the targets with its Quote or within seven (7) business days upon request. A Vendor’s {Bidder’s} failure to satisfy the small business subcontracting targets or to provide sufficient documentation of its good faith efforts to meet the targets with the Quote or within seven (7) business days upon request shall preclude award of a Blanket P.O. to the Vendor {Bidder}.”  

Please refer to Bid Solicitation 4.4.1.6 for more information.

Please note that the previously posted Subcontractor Utilization Plan form has been removed and an updated form has been attached to the Bid Solicitation. 
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4.4.5.2
State-Supplied Price Sheet Instructions
	Per RFP Section 5.2, the contract is a three year contract with 2, one-year options. Section 5.2 states that years 4 and 5 will be at the year 3 price. The price sheets do not provide for an escalation in years 2 and 3 for the base fee (the Monthly Management Fee), trash/recycling, or the Task Work. However, the contractor is required to pay Prevailing Wages, which typically do increase, as do other costs (such as materials, subcontractor costs, trash removal). Will the State modify the price sheet to include an annual escalation (as a percentage, or with price lines for years 2 and 3), so that the contractor is at least given increases in years 2 and 3? Otherwise, the contractor will have to escalate its initial pricing to cover its increasing costs over the 5 year period.

No, the State will not modify the State-Supplied Price Sheet to include an annual escalation. The State acknowledges that prevailing wages are subject to fluctuation and, for this reason, the State requires that the Vendor {Bidder} provide a percent mark-up (%) over the applicable prevailing wages. 
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General
	Price Sheet: There may be times when the Contractor must pay overtime or premium time to tradesmen or individuals (such as maintenance workers) being billed at hourly rates. Will the State pay the Contractor the upcharge times the overtime rate or premium time rate whenever the Contractor must pay overtime or premium time?

The State will pay for the percentage (%) upcharge over prevailing wage that the Vendor {Bidder} provided in the applicable price line. Prevailing wage covers various rates for off-hours and holiday rates. As such, the State will pay the applicable prevailing wage rate plus markup. Please refer to Section 4.4.5.2, State-Supplied Price Sheet Instructions, of the REVISED Bid Solicitation and the Department of Labor’s webpage concerning prevailing wage rates and information. 
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General
	Price Sheet: When overtime is required, for example, for an emergency maintenance repair after hours, will the contractor be reimbursed as per the following example? Prevailing Wage & Benefit (Maintenance Worker) = $27.04 Multiply the PW & Benefit by 1.5 = $40.56 Add the Percentage Upcharge of, for example, 90%. Upcharge to cover taxes, insurance, vehicle, travel, profit & overhead = $36.50 Billable rate = $77.06 / hour

Please see the answer to Question #32.

	




34
	




General
	Can the State please provide a set of floor plans/plans for each of the facilities?

The following floor plans have been attached and uploaded to the Attachments tab for this Bid Solicitation in NJSTART:

1. Attachment 2a – Asbury Park Location Floor Plans; and
2. Attachment 2b – Freehold Location Floor Plans.

Please see Section 3.1, General Requirements, of the REVISED Bid Solicitation.
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General
	On Attachment 1, it states that additional information would be provided at the walkthrough for the Freehold Building, although we did not receive any additional information during the site visit. Is any additional information going to be provided?

This Bid Amendment reflects all of the additional information needed for this Bid Solicitation. 

Floor plans for the Asbury Park and Freehold locations have been uploaded to the Attachment tab for this Bid Solicitation on NJSTART. Please refer to the answer for Question #34. 
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General
	During our site visit to the Parking Garage, we noticed the presence of a port-o-pot, what is this for? It it something we need to include in our bid pricing?

No, the Vendor {Bidder} is not to consider the portable sanitation unit in its pricing as it is not a part of the Bid Solicitation and is the responsibility of the State. 



	


37
	


General
	During our site visit to the Asbury Park State Office Building, we did not see a generator. Is there one? If there is one, can you please provide information on the equipment?

No, there is no generator in the Asbury Park State Office Building. 
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General
	When trying to open a Portable Document Format (PDF) document I am receiving an error message and are unable to access the PDF document. How should I proceed?

It is recommended that users utilize Internet Explorer to view PDF documents. Certain PDF forms cannot be opened in the Chrome or Firefox built in PDF viewers that are enabled by default. If using Chrome or Firefox it is recommended that the file is downloaded instead by clicking the download button in the upper right-hand corner of the browser after an error message is received. An alternative option is to disable the built in PDF viewers in Chrome or Firefox.
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General
	Should I check that I have properly completed and attached all of the required documents with my submitted Quote?

Yes. Prior to the Quote Opening Deadline, a Vendor Bidder should review the documents comprising the submitted Quote to ensure that all of the required documents have been completed and attached. Oftentimes a Quote is deemed nonresponsive because a Vendor Bidder fails to attach a required form or attaches a blank form. To review a submitted a Quote a Vendor Bidder should log into NJSTART and review each document attached to the Quote submission. Instructions on how to review a submitted Quote can be found in the Divisions Quick Reference Guide entitled, How to Review a Submitted Quote- which is available NJSTART Vendor Support Page under Vendor Reference Guides.
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General
	Is this a Public Works Contract?

Yes, this is a Public Works Blanket P.O. Therefore, prevailing wage and all other Public Works Contractor Registration Act provisions do apply, as applicable.

At the time of the Quote due date, the Vendor {Bidder} and Subcontractors performing public work as defined in N.J.S.A. 34:11-56.26 must be registered in accordance with the Public Works Contractor Registration Act (PWCRA), N.J.S.A. 34:11-56.48 et seq.  
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