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July 27, 2017


To: 	All Interested Vendors {Bidders} 


Re:	Bid Solicitation {RFP} # 17DPP00150
T2871 Trailer Mounted Portable Generators, Statewide

	Quote {Proposal} Submission Due Date:  August 8, 2017 (2:00 p.m. ET)
             Revised Quote {Proposal} Submission Due Date:  August 11, 2017 (2:00 p.m. ET)


Bid Amendment {Addendum} #2


The following constitutes Bid Amendment {Addendum} #2 to the above referenced Bid Solicitation {RFP}:

· This Bid Amendment {Addendum} includes answers to questions and revisions.
· Please note that for all additions, deletions, clarifications and modifications to the Bid Solicitation {RFP} # 17DPP00150, please refer to the Revised Bid Solicitation {RFP} titled “T2871 17DPP00150 Final Revised RFP 7.27.17”. 

It is the sole responsibility of the Vendor {Bidder} to be knowledgeable of all of the additions, deletions, clarifications, and modifications to the Bid Solicitation {RFP} and/or the New Jersey Standard Terms and Conditions relative to this Bid Solicitation {RFP} as set forth in all Bid Amendments {Addenda}. 

All other instructions, terms, and conditions of the Bid Solicitation {RFP} shall remain the same.



T2871 Trailer Mounted Portable Generators, Statewide
Bid Solicitation {RFP} Number: 17DPP00150

Answers to Questions

Each question is referenced by the appropriate Bid Solicitation {RFP} page number(s) and section where applicable. 

	#
	Page #
	RFP Section Reference
	Question (Bolded) and Answer

	1
	  5
18
	1.1 Paragraph 4-5

3.4.2
	Since all trailer mounted Generators do not come with automatic transfer switches, should we add a variety of transfer switch sizes to our bid? transfer switches are rated for one voltage only and the request is for multi-voltage trailer mounted generators.

Yes, various sizes of transfer switches can be offered as part of the price list submission for Section 3.4.2 Manufacturer’s Options and Accessories (Price line 2).

Please see revisions to Section 3.4.1 and utilize the Bid Solicitation {RFP} titled “T2871 17DPP00150 Final Revised RFP 7.27.17”.
 


	2
	  5
18
	1.1 Paragraph    4-5

3.4.2
	We're not sure how to bid this. Per the specs you want optional accessories included in line 1. The brand we offer lists these items as optional accessories for line 2.

The requirements listed in Bid Solicitation {RFP} Section 3.4.1 may be offered under the base unit price list as part of the Section 3.4.1 price list (if the required item is a standard feature) or as optional equipment/accessories using the price list submitted for Section 3.4.2 Manufacturer’s Options and Accessories (Price line 2).
   


	3
	39-40
	5.10
	Will the manufacturer of the generators be considered a "subcontractor" as they are not providing a service, but a product

No. Refer to Section 5.10 of the Bid Solicitation {RFP}.


	4
	5
	1.1 Paragraph 6

3.4.1 Paragraph
         2
	Will you accept a higher KW rated machine for the 60KW. Our manufacturer does not offer that hp node, and we have not engineered a true 60KW portable unit as of now. If it is 100% necessary for the deal, we can put something together.

As stated in Bid Solicitation {RFP} Sections 1.1 and 3.4.1, in order to be considered a responsive Vendor {Bidder} for Price line 1, a Vendor {Bidder} must offer a 30kW, 60kW and 100kW trailer mounted generators within the price list.



	5
	29-30
	4.4.5.2
	Will the proposals be only based off the percentage discount? "The Quotes {Proposals} will be evaluated based on the percentage discount or markup provided on price line item 1." It says it will be based on the percentage of discount/markup. Will the base unit price not be considered as well? The reason why I ask, what would stop someone from raising the base price, and giving a larger discount. Although it would still be higher than someone with a lower base price and lower discount.

Yes, please refer to Bid Solicitation {RFP} Sections 6.6 and 6.6.1 
[bookmark: _GoBack]

	6
	  5
18
	1.2 Paragraph    4-5

3.4.2
	Camlocks are not part of the generator list price but is an option.

Please refer to the response to Question #2 above.


	7
	  5
18
	1.2 Paragraph 4-5

3.4.2
	Automatic transfer switch is not part of a trailer mounted generator due to cabling logistics and need to know the generator selected voltage. The automatic transfer switch needs to be selected from the utility, mot the generator.

Please refer to the response to Question #1 above.


	8
	18
	3.4.1, #9 
	Cabling from the generator to the load cannot be known and therefore should not be part of the bid.

Please see revisions to Section 3.4.1 and utilize the Bid Solicitation {RFP} titled “T2871 17DPP00150 Final Revised RFP 7.27.17”.


	9
	18
	3.4.1, #19
	Generators coming from the factory do not contain fuel as the freight company is not licensed to haul fuel.

Please see revisions to Section 3.4.1 and utilize the Bid Solicitation {RFP} titled “T2871 17DPP00150 Final Revised RFP 7.27.17”.
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