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2/10/17


To: All Interested Bidders 


Re:  BID {RFP} # 17DPP00085
T2424: Surveillance and Access Control Security Systems – Maintenance, Repair and Installation Services – Department of Treasury

Quote {Proposal} Submission Due Date: 3/16/2017 (2:00 p.m.)


Bid Amendment {ADDENDUM} #1

The following constitutes Bid Amendment {Addendum} #1 to the above referenced Bid Solicitation {RFP}:

· This Bid Amendment {Addendum} includes answers to questions; and
· Please note that for all additions, deletions, clarifications and modifications to the Bid Solicitation {RFP} # 17DPP00085, please refer to NJSTART attachment – (T2424 Revised RFP Amendment 1 – 07102017).

It is the sole responsibility of the vendor {bidder} to be knowledgeable of all of the additions, deletions, clarifications, and modifications to the Bid Solicitation {RFP} and/or the New Jersey Standard Terms and Conditions relative to this Bid Solicitation {RFP} as set forth in all Bid Amendments {Addenda}. 

All other instructions, terms, and conditions of the Bid Solicitation {RFP} shall remain the same.


  

PART 1
T2424: Surveillance and Access Control Security Systems – Maintenance, Repair and Installation Services – Department of Treasury
 
BID {RFP} # 17DPP00085

Answers to Questions

Note: Some of the questions have been paraphrased in the interest of readability and clarity.  Each question is referenced by the appropriate BID {RFP} page number(s) and section where applicable.  

	#
	Page #
	BID {RFP} Section Reference
	Question
	Answer

	1
	
	Discount Worksheet
	How is this form completed? Am I to put Models, List Prices, savings , markups etc? If so of what Devices, model #'s etc.

	All items where a markup will be charged will be listed by the Vendor {Contractor} on the Discount Worksheet.

	2
	
	General - Delete a bid
	In error I started a second bid, how do I delete it?
	Questions regarding  deleting a  second Quote {Bid} can be answered by contacting Vendor Support:
NJSTART Vendor email support:  njstart@treas.nj.gov ;
NJSTART Vendor phone support – (609) 341-3500 Staffed Monday to Friday 8:30 a.m. to 4:30 p.m.

	3
	
	Section 2.2 - General Definitions
	The previous contract paid service calls in half hour increments. Will this contract be paying in half hour increments also?

	No. The Quote {Bid} is as written.

	4
	15
	Section 2.3 - Normal Service Hours
	Prevailing Wage Law hours are 7am to 4:30pm. This contract's normal service hours are 8am-5pm. Prevailing Wage Law states we are to pay overtime after 4:30pm M-F and on Saturday's. 

Are we to charge the State overtime rates for anything between 4:30pm and 5pm M-F?

	In Counties where Prevailing Wage hours are from 7am-4:30pm  M-F, any work performed between 4:30pm and 5:00pm M-F are subject to overtime rates.


	5
	18
	Section 3.5 - Diagnostic Equipment and Personnel Clarification
	Compass 3E and 4E are still being used in some buildings and is one of the most difficult to service. Will these certifications be required?
	Section 3.5 heading has been changed to “Diagnostic Equipment and Personnel Certification. “
[bookmark: _GoBack]Certification on Compass 3E and 4E is not required.

	6
	39
	Section 4.4.5.2 - Price Sheet/Schedule Attachment Instructions
	Prevailing Wage Law states all hours on Sunday and Holidays should be paid at double time. Will the state adjust for double time to be paid?
	Prevailing Wage Laws will be followed. The Master Blanket Purchase Order (Blanket PO) {Contract} will pay double time where required by law.

	7
	51
	Section 5.19 - Blanket PO (Contract) Activitiy Report
	Quarterly Reports seem very intense. 

What rate are we to bill for this task?
	The Vendor {Contractor} may not  charge a separate fee for this requirement . The Quote {Bid} is as written.

	8
	
	Section 9.0, 2.3 - State of New Jersey Standard Terms and Conditions
	Prevailing Wage Law section N.J.A.C. 12:60-2.1 and 6.1 and 34:11-56.25 states the agency must maintain a copy of the certified payroll for review. 

Are we to submit certified payroll reports for every service invoice along with the installs?

	No. It is necessary that a Vendor {Contractor} comply with the requirements of this act.

	9
	8
	1.3.6 Pre-Bid
	Will Will there be a Pre-Bid Meeting??

	No. There will not be a Pre-Bid Meeting.

	10
	
	Bid Location is Listed as... TELE - Technology and Telecommunications
	Although the bid is listed under TELE - Technology & Telecommunications, can the telecomm wage rate determination be legally used? This question is being asked because according to the NJ Administrative Code Archive Directory N.J.A.C. 13:31-4.1 (2016) � 13:31-4.1 Limited telecommunications wiring exemption, the work referenced in the RFP (Surveillance & Access Control Security Systems) appears to be specifically disallowed under the telecommunications exemption. Re: TITLE 13. LAW AND PUBLIC SAFETY, CHAPTER 31. BOARD OF EXAMINERS OF ELECTRICAL CONTRACTORS, SUBCHAPTER 4. LICENSURE EXEMPTIONS (a) Pursuant to N.J.S.A. 45:5A-18, the Board may grant an exemption from the license and business permit requirements of N.J.S.A. 45:5A-9(a) to a business engaged in telecommunications wiring. Nothing in this section shall be deemed to exempt a business entity from the license and business permit requirements of N.J.S.A. 45:5A-9(a) for the work of an electrical contractor as defined in N.J.S.A. 45:5A-2 or from the license requirements of N.J.S.A. 45:5A-25 when engaging in the alarm business or in the provision of locksmithing services as defined in N.J.S.A.45:5A-2. (b) For purposes of this subsection, telecommunications wiring means wiring within a premises, either inside or outside a building for voice and/or data transmission at voltage(s) compatible with the system being installed and connected to an FCC recognized communication network at the point of connection provided by the public utility providing communication services to the customer. It shall also include the interconnection of data wiring between computers and/or terminals. Also, under The New Jersey Administrative Code Title 13 - Chapter 31A Definitions � the excerpt from page 7 includes definitions for CCTV and Electronic Security Systems and as indicated on the DOL website the prevailing wage rate determinations for all CCTV and Burglar Alarm work are listed under Electrical wage rate determinations.

	No. The “TELE - Technology & Telecommunications” designation denotes the internal unit  within the Division of Purchase and Property  that will manage this Bid Solicitation.

	11
	
	Information sharing
	Will all submitted questions & answers be shared with all Bidders?
	Yes. All submitted questions & answers will  be shared with all Vendors {Bidders}.


	12
	
	Existing systems
	Are the existing RS2 Access Control and other computer-based systems (video, secondary access) currently under a valid manufactures Software Support Agreement? Latest software versions?

	The Interdepartmental Security Unit (ISU) maintains a Service and Software Support Agreement with RS2 and OSSI.

	13
	
	Scope of contract award
	Can the T2424 contract also be used by other state or local agencies?

	No. State Blanket PO {Contract} T2424 can not  be used by other State or local agencies.

	14
	
	Video Surveillance technology
	Can you advise what manufacturers (i.e. Verint, Genetec)systems are installed?
	The ISU will specify the equipment to be installed for CCTV.

	15
	
	Video Surveillance technology
	Does the State have a standard or preference for new video system manufactures?
	No. The State currently has many sites where the video system manufactures is Panasonic. However, the ISU will specify the equipment to be installed for CCTV as projects are solicitated.
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