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June 19, 2026
The Department of Health, State Laboratories Division (SLD), Laboratory Response and Preparedness Branch (LPRB) is requesting a price quotation for HVAC duct modifications and other small repairs:

1.  SCOPE OF WORK

All work is located at the State Laboratories Facility, 2725 Waimano Home Road, Pearl City, HI 96782

Contractor shall provide labor and materials for the following:

1) Install two (2) exhaust grills.  Repair area around newly installed grill.
a.
Includes purchase and delivery of exhaust grills and any other required materials.

b.
Installation of exhaust grills.

c.
Repair/replacement of area around the exhaust grills

d.
Repainting of ceiling using epoxy paint approved by LPRB

2) Cut existing pipes for various utilities above the ceiling and cap in Rooms 2211, and 2210.  Remove and replace ceiling as shown in the attached drawings (areas in red).
a.
Purchase and delivery of all required materials.

b.
Shut off of utility valves of affected pipes, cut and cap above the current ceiling.
c.
Cut and removal of existing ceiling as designated in the attach drawings.

d.
Installation of new ceiling, including any needed replacement of framing or 
supports.

e.
Repaint repaired areas using epoxy paint matched approximately to the existing 
paint color.
3) Cut existing pipes for various utilities above the ceiling and cap in Rooms 2212.  Remove and replace ceiling as shown in the attached drawings (area in red).

a.
Purchase and delivery of all required materials.

b.
Shut off of utility valves of affected pipes, cut and cap above the current ceiling.

c.
Cut and removal of existing ceiling as designated in the attach drawings.

d.
Installation of new ceiling, including any needed replacement of framing or 
supports.

e.
Repaint repaired areas using epoxy paint matched approximately to the existing 
paint color.
Contractor shall perform all demo and installation work on a Saturday and/or Sunday 7:00 am – 4:00 pm.  Painting may be completed during regular work hours on Monday and Tuesday 7:45 am – 4:30 pm following the installation work if required.
Contractor shall complete all work by July 28, 2026.

Contractor shall cover all equipment and exposed countertop surfaces to protect from dust.  Contractor shall set up dust barriers to protect areas outside of the work area where applicable.
Contractor shall leave the work area clean each day and is responsible for removing dust and other debris generated because of the work.
Contractor shall follow all federal, state, and local laws and requirements including but not limited to Chapter 104 (Hawaii prevailing wage law) and the David-Bacon Act (federal prevailing wage law).  
Contractor shall possess a valid Hawaii State building contractor’s license (B) and use only licensed contractors for any specialty work that is required for which the contractor does not possess a current Hawaii State contractor’s license.

Contractor shall provide a Certificate of Insurance prior to the start of onsite work.  Please see attached COI template for requirements.

2.  Bid Submission and Award
Please submit your price quotation by 2 PM, July 6, 2026.  Award will be made to the lowest responsive, responsible offer and is based on the availability of funding. The offeror must be able to produce a Certificate of Vendor Compliance at the time of award and for final payment. For information on the Certificate of Vendor Compliance, please refer to the SPO website, www.spo.hawaii.gov.

If you have any questions or wish to conduct a site visit, please contact Mr. Stephen Schanzenbach, at 453-6651, fax. 453-6662 or e-mail: stephen.schanzenbach@doh.hawaii.gov. 
While the intention of the LPRB is to award all line items to a single vendor, LPRB reserves the right to remove line items based on the availability of funding prior to award.   For this solicitation, a single award shall be made to the single lowest responsive, responsible quote for all line items included in the award.  
Protests are allowed for any phase of solicitation and award.

Protest of any phase of solicitation: shall be submitted in writing prior to receipt of offers. (HAR Section 3-126-3)

Protest of an award: shall be submitted in writing within 5 working days of posting of award. (HAR Section 3-126-4)

Stay of Procurement: Once filed, no further action shall be taken on the procurement until the protest has been settled. (HAR Section 3-126-5)
3.  OTHER INFORMATION
The Hawai‘i Department of Health does not discriminate on the basis of race, color, sex, national origin, age, or disability, or any other class as protected under applicable federal or state law, in administration of its programs, or activities, and, the Department of Health does not intimidate or retaliate against any individual or group because they have exercised their rights to participate in actions protected, or oppose action prohibited, by 40 C.F.R. Parts 5 and 7, or for the purpose of interfering with such rights. 

If you have any questions about this notice or any of the Department’s non-discrimination programs, policies, or procedures, you may contact:

Valerie Kato


Acting Non-Discrimination Coordinator Hawai‘i Department of Health 


1250 Punchbowl Street, HI 96813,  (808) 586-4400


doh.nondiscrimination@doh.hawaii.gov
If you believe that you have been discriminated against with respect to a Department of Health program or activity, you may contact the Non-Discrimination Coordinator identified above. 

To request language or accessibility for this document, please contact: the HDOH Non-Discrimination Coordinator, located at 1250 Punchbowl Street, Honolulu, HI 96813 

(Phone: (808) 586-4400 or email: doh.nondiscrimination@doh.hawaii.gov ).  

Please allow sufficient time for HDOH to meet accommodation requests.
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In reply, please refer to:
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